X-ray data collection, solution and refinement for deh284

An orange-yellow, multi-faceted block of suitable size (0.182 x 0.166 x 0.154 mm) and quality was selected from a representative sample of crystals of the same habit using an optical microscope and mounted onto a MiTiGen loop. X-ray data (Rint = 0.0308) were obtained on a Bruker D8 QUEST ECO CMOS diffractometer (Mo sealed X-ray tube, K = 0.71073 Å) at 150 K. All diffractometer manipulations, including data collection, integration and scaling were carried out using the Bruker APEX3 software suite.[1] An absorption correction was applied using SADABS.[1] The space group was determined on the basis of  systematic absences and intensity statistics and the structure was solved by direct methods and refined by full-matrix least squares on F2. The structure was solved in the monoclinic space group C2/c using XS[2] (incorporated in SHELXTL). No obvious missed symmetry was reported by PLATON.[3] All non-hydrogen atoms were refined with anisotropic thermal parameters. Hydrogen atoms were placed in idealized positions and refined using a riding model. While one molecule of the crystallization solvent (acetonitrile) could be satisfactorily modelled, other disordered solvent could not be and the corresponding residual electron density was removed using the SQUEEZE protocol[3] embedded within PLATON, the results of which are appended to the end of the CIF. The structure was refined (weighted least squares refinement on F2) and the final least-squares refinement converged to R1 = 0.0380 (I > 2σ(I), 8688 data) and wR2 = 0.0947 (F2, 8885 data, 387 parameters).

[1] Bruker-AXS APEX3 v2016.1-0, Madison,Wisconsin, USA, 2016.

[2] Sheldrick, G.M. A short history of SHELX. Acta Cryst. 2008, A64, 112-122.

[3] Spek, A.L. Structure validation in chemical crystallography. Acta Cryst. 2009, D65, 148-155.