X-ray data collection, solution and refinement for deh131

(MeP^N)2FeCl2

A yellow, multi-faceted block of suitable size (0.05 x 0.03 x 0.02 mm) and quality was selected from a representative sample of crystals of the same habit using an optical microscope and mounted onto a MiTiGen loop. X-ray data (Rint = 0.0782) were obtained on a Bruker D8 QUEST ECO CMOS diffractometer (Mo sealed X-ray tube, K = 0.71073 Å) at 150 K. All diffractometer manipulations, including data collection, integration and scaling were carried out using the Bruker APEX3 software suite.[1] An absorption correction was applied using SADABS.[1] The space group was determined on the basis of  systematic absences and intensity statistics and the structure was solved by direct methods and refined by full-matrix least squares on F2. The structure was solved in the triclinic space group P-1 using XS[2] (incorporated in SHELXTL). No obvious missed symmetry was reported by PLATON.[3] All non-hydrogen atoms were refined with anisotropic thermal parameters. Hydrogen atoms were placed in idealized positions and refined using a riding model. A reflection (1 0 0) was found to be obscured by the beam stop, and therefore in systematic error and was accordingly omitted from the refinement.s The structure was refined (weighted least squares refinement on F2) and the final least-squares refinement converged to R1 = 0.0444 (I > 2σ(I), 3609 data) and wR2 = 0.1059 (F2, 4875 data, 269 parameters).

[1] Bruker-AXS APEX3 v2016.1-0, Madison,Wisconsin, USA, 2016.

[2] Sheldrick, G.M. A short history of SHELX. Acta Cryst. 2008, A64, 112-122.

[3] Spek, A.L. Structure validation in chemical crystallography. Acta Cryst. 2009, D65, 148-155.